## LEME ACC
LEME ADAPTATION - SUNREF III Version No : 2 Date of issue : 10 Septembre 2020
Note 1 : The LEME is an evolutive document and updated versions will be released as and when deemed required by the Technical Assistance (TA) team in agreement with AFD. Potential beneficiaries are advised to check with their Partner Bank to ensure they are using the latest version. Note 2 : The LEME is not an exhaustive list. An item not listed in the LEME does not necessarily imply that it is excluded from SUNREF III financing programme. In the event that items which are deemed to be potentially eligible are not referenced in the LEME, 1.) potential beneficiaries are advised to check with their Partner Bank on the best way forward and 2.) suppliers are encouraged to contact the TA team on the following address : sunrefmaurice3@aets-consultants.com
N°Ref | Best Available Technology (BAT) | Objective | Applications | Minimum Performance Criteria/ Minimum requirements | International Reference Standards | Estimated pay back time short term : 2-4 years, medium term: 4-6years, long term : 6-8 years (*) | Comments | Visual Example
A. | Water resource management
A.1. | Rainwater collection for domestic use
A.1.2. | Water tank | Reduce consumption of drinking water for non-drinking purposes | Install to collect rain water from the roof and gutters | Decrease of overall water consumption (10% minimum) or % of non-potable use provided by collected water (20% minimum) | Opaque, not letting light through | Short term | Fiberglass or polyethylene depending of the storage capacity of the tank Differents capacities depending of the project.
A.2. | Water runoff collection
A.2.1. | Retention basin | Collect runoff water for local non-drinking usage instead of resorting to utility facilities | Underground structure of runoff water with regulated drainage system under green areas, sports field, or for smaller volumes at private homes | Decrease of overall water consumption (10% minimum) or % of non-potable use provided by collected water (20% minimum) |  | Medium term | Land analysis of the area of the project Underground basins require regular maintenance
B | Water demand management
B.1. | Technologies for improving water efficiency (domestic use)
B.1.1. | tap aerator | Reduce potable water consumption | Installed on each tap (domestic and industrial used) | Decrease of water consumption (30% minimum) |  | Short term | Easy implementation
B.1.2. | efficient shower | Reduce potable water consumption | Installed on each shower (domestic and industrial used) | Decrease of water consumption (30% minimum) |  | Short term
B.1.3. | Water savers for WC tank | Reduce potable water consumption | Installed on each toilet (domestic and industrial used) | Decrease of water consumption (30% minimum) |  | Short term
B.1.4. | rainwater system to provide flushing water to the toilet | Reduce potable water consumption | Implement for new construction (private ou industrial) | Decrease of water consumption (30% minimum) |  | Short term
B.1.5. | timed tap | Reduce potable water consumption | Implement for new construction (private ou industrial) | Decrease of water consumption (30% minimum) |  | Short term
B.1.6. | limited flow systems (flanges) | Reduce potable water consumption | Implement for new construction (private ou industrial) | Decrease of water consumption (30% minimum) |  | Short term
B.1.7. | double stop mixers (sinks) | Reduce potable water consumption | Implement for new construction (private ou industrial) | Decrease of water consumption (30% minimum) |  | Short term
B.1.8. | thermostatic mixing valves (showers) | Reduce potable water consumption | Implement for new construction (private ou industrial) | Decrease of water consumption (30% minimum) |  | Short term
B.1.9. | water-saving dishwasher models | Reduce potable water consumption | To be installed on each tap (domestic and industrial used) | Energy efficiency Min Class A ++ A recent model consume between 10 to 20 liters per cycle. | EEMO standards | Short term | A recent model consume between 10 to 20 liters per cycle.
B.1.10. | Water-saving washing machine | Reduce potable water consumption | Use washing machine with water reduction | Energy efficiency Min Class A ++ Average water consumtion per cycle less than or equal to 60L |  | Short term | For information : An energy class D washing machine will consume between 90 and 110 liters of water per wash A washing machine of energy class A + to C will consume instead between 60 and 90 liters of water per cycle An energy class A +++ and A ++ washing machine will consume between 45 and 60 liters of water per cycle
B.2. | Techniques for improving water efficiency for agricultural / landscape use (including water-saving irrigation techniques)
B.2.1. | Micro-irrigation or drip irrigation | Water the plantations as close as possible. Limit water losses by evaporation, splashing, ...) | Drip irrigation with subsurface pipes | Decrease of overall water consumption (10% minimum) or % of non-potable use provided by collected water (20% minimum) | Norm ISO 9261 | Medium term | Complete irrigation system including water storage, pumps, pipes, UV systems, drips, etc.
B.2.2. | Lateral move irrigation system | Limit water losses | Sugar cane application and large exploitation | Decrease of overall water consumption (10% minimum) or % of non-potable use provided by collected water (20% minimum) |  | Long term | wheel system
B.3. | Techniques de réutilisation des effluents traitées
B.3.1 | Microstation, with tertiary treatment | Used treated effluent for irrigation purposes. Reduction of potable water consumption | Domestic used and indutrial use | Mauritius standards for reused in irrigation + supplier performance (on technical specifications) | THE ENVIRONMENT PROTECTION ACT 2002 - Government Notice No.46 of 2003. ANC agreement ( French) | Medium term | Microstation to domestic wastewater Prefabricated concrete tanks Technology : fixed Activted sludge Full range from 4 to 2000 population equivalent Water for irrigation
B.4 | CIP (Cleaning In Place)
B | CIP (Cleaning In Place) with recirculation process | The CIP is an automic system for installation cleaning without proceeding to dismantling all the equipment | Industrial Use: beverage industry, agrofood industries, diary product activities | Decrease of water consumption by 70% in relation with cleaning processes and chemical reagent consumption by at least 40%, from return of experiences (technical littérature) when recirculation configuration is implemented | CIP processes and Green CIP approaches are well described in the technical documentation and on specialised web sites with case-studies. Green CIP is focusing on chemical recycling as well as high water consumption reduction rates. | Medium term with typical return of investment of 4-5 years | Two main configurations : - Simple configuration : New cleaning solution is introduced into the system and then circulated in a drainsystem for cleaning the production facility (in place).. In most cases, the procedure is as follows : a single pass system would start with a pre-rinse, then the detergent clean and a final rinse would follow these first operations (multi-phases). - Recirculation configuration : The cleaning solution is introduced in an external tank (process vessel) and circulated in a drain system. Then introduced in the system to be cleaned. It is recirculated and topped up as many time required until the cleaning cycle is complete. When the detergent cleaning is complete a final rinse is carried out. Recirculation systems use less water and cleaning detergents but require greater capital costs. The cleaning solution is some cases, can be reuse for another cleaning procedure. The CIP system is composed of the following equipments (no exhaustive list) : - tank - pump - pipe - instrumentation equipment | Ref : leentech
C.
C.3. | Protected crops
C.3.1. | Defense techniques (windbreaker, nets, etc.) | High reduction of water consumption and capacity building towards a resilient crop production system | Crop cultivation / SmartAgri |  |  | Medium term | Protect
C.3.3. | Tunnel greenhouse | High reduction of water consumption and capacity building towards a resilient crop production system | Crop cultivation / SmartAgri | 4.35m rigde height 2.4m front beam height | The structural designs shall be in accordance with: EN 13031-1:2001(E): Greenhouses: Design & Construction. | Long term | *made up of pre-galvanised sections assembled by bolts & Nuts. *All columns are made of closed rectangular profiles, Z275 galvanised steel • All locking profiles are made of Z275 galvanised steel * mandatory that micro-drip irrigation system to be included in the project
C.3.4 | Tropic greenhouse | High reduction of water consumption and capacity building towards a resilient crop production system | Crop cultivation / SmartAgri | 6.45m rigde height Gutter Height: 5.15m Open vent at roof | The structural designs shall be in accordance with: EN 13031-1:2001(E): Greenhouses: Design & Construction. | Long term | *made up of pre-galvanised sections assembled by bolts & Nuts. *All columns are made of closed rectangular profiles, Z275 galvanised steel • All locking profiles are made of Z275 galvanised steel * mandatory that micro-drip irrigation system to be included in the project
C.3.5 | Classic greenhouse | High reduction of water consumption and capacity building towards a resilient crop production system | Crop cultivation / SmartAgri | 7.75-9m rigde height Gutter Height: 4-4.75 Open vent at roof | The structural designs shall be in accordance with: EN 13031-1:2001(E): Greenhouses: Design & Construction. |  | *made up of pre-galvanised sections assembled by bolts & Nuts. *All columns are made of closed rectangular profiles, Z275 galvanised steel • All locking profiles are made of Z275 galvanised steel * mandatory that micro-drip irrigation system to be included in the project
C.3.6 | Flat Net house | High reduction of water consumption and capacity building towards a resilient crop production system | Crop cultivation / SmartAgri | roof height 4.0m No trellising support | The structural designs shall be in accordance with: EN 13031-1:2001(E): Greenhouses: Design & Construction. |  | pre-galvanised metal pipes * mandatory that micro-drip irrigation system to be included in the project
C.3.7 | Total Net house | High reduction of water consumption and capacity building towards a resilient crop production system | Crop cultivation / SmartAgri | roof height 5.1m Trellising support | The structural designs shall be in accordance with: EN 13031-1:2001(E): Greenhouses: Design & Construction. |  | pre-galvanised metal pipes * mandatory that micro-drip irrigation system to be included in the project
Note on H30: REYSSET Bertrand: Préciser ce point déligibilité : si seul la deuxième option permet de faire des économies significatives tel que présente (70%) alors la première option n'a pas de rationale d'économie significatif donc pas éligible à ma compréhension