## Info
Model Levelized Cost of Electricity |  | v2024-02-23
Features of this calculation tool
With this LCoE Excel spreadsheet it is possible to calculate crucial economic parameters for a Renewable Energy System (RES) for a period of up to 30 years.
Economic performance parameters are: LCoE, NPV, IRR and Payback period. These are provded - together with some explanations and guideance - at sheet "Inputs & Results"
Created by: | PSE Projects GmbH |  |  |  | Although this calculation tool has been extensively tested, no liability can be accepted for the accuracy of the calculations. For economic decisions, a comparison tool (such as PV GIS or a commercial design and simulation tool) should always be used to rule out errors. The creators of this calculation tool exclude any liability for possible damages that may result from its use.
www.pse-projects.de
Feedback to:
warmuth@pse-projects.de
To use this workbook:
1. | Start with the Sheet 'Inputs & Results' and complete the light blue marked cells undert the headline "Project Specific Inputs"
.2 | The results (economic performance parameters) can be found at the same Sheet 'Inputs & Results' and starting with the headline "Levelized Cost of Electricity"
3. | A visualisation of the cumulated cash flow is provided in sheet 'Payback'
4. | Sheet 'Calculations' is considered to be an auxiliary table and should NOT be changed.
5. | For 1000 m² of land about 60 kWp Agrivoltaic system can be installed for arable farming [1]. With this information, you can calculate the actual capacity of your Agrivoltaic system with a given piece of land. This should be sufficiently accurate for a rough economic assessment.
Colour & Format code |  | Source:
Input parameters |  | [1] | Hermann, C. et al. (2022) Agrivoltaics : Opportunities for Agri- culture and the Energy Transition Publishing notes.
|  |  | Available at: | https://www.ise.fraunhofer.de/content/dam/ise/en/documents/publications/studies/APV-Guideline.pdf |  | p. 33
Results
Explanations
Changelog:
2024-01-23 | Optimal Azimuth changed to -147° (according to PV GIS optimised Azimuth); Cost of capital (interest rates) included; Missing formula in sheet “Calculations” in cell 'C65' fixed (thanks to feedback from Brendon Bingwa, ISE); Error message intercepted in "Calculations" sheet.
2024-02-01 | Sheets for sensitivity analysis with Macros added.
2024-02-08 | Bug fixed: When inserting loan calculation, the CAPEX was doubled. Cross-check with a tool for Germany was successful.
2024-02-22 | Final check by Brendon Bingwa from Fraunhofer ISE and by Werner Warmuth.
2024-02-23 | Absolute LCOE Sensitivity added in Sheet 'SensitivityLCOE' by Werner Warmuth.

## Inputs&Results
Project Specific Inputs
General |  |  |  | Explanations for these values
Time period | 18 | years |  | The feed-in tariff is granted for 18 years in Mauritius
Inflation rate | 7.141% | % |  | Average annual inflation rate between 1964 and 2022
Nominal interest rate | 7% | % |  | 7.0% discount rate for Mauritius was recommended. This value is used as the discount factor to calculate the LCOE without considering the WACC table.
System
Specific yield | 1500 | kWh/kWp |  | see PVGIS | Mauritius GPS coordinates (middle of the island) are: -20.275, 57.570; optimal slope angle 20°. The azimuth, or orientation, is the angle of the PV modules relative to the direction due South. - 90° is East, 0° is South, 90° is West and ±180° is North.
Nominal capacity of the system | 1 | kWp
Energy generated | 1500 | kWh
Annual degradation | 0.3% | % |  | Typical annual degradation of PV panel performance
Operation and Maintenance
Maintenance & Operation | 32 | EUR |  | Typically 2% of CAPEX per year
Yearly increase in O&M costs | 2% | % |  | Conservative assumption that O&M costs will increase
Capital costs
Investment | 1600 | EUR/kWp
| 1600 | EUR
Equity | 20% | % |  | Typical equity rate
Debt | 80% | %
Cost of equity | 7% | % |  | To use 7% discount rate was recommended for Mauritius. No repayment of interest is considered. Insert "0" if the capital costs for equity are not to be taken into account in the calculation.
Cost of debt | 7% | % |  | To use 7% discount rate was recommended for Mauritius. No repayment of interest is considered. Insert "0" if the cost of capital for borrowed capital is not to be included in the calculation.
Tax rate | 15% | % |  | This value has only an influence if nominal WACC is considered.
Equity: Debt ratio | 0.25
Income
Energy sale price | 0.0849 | EUR/kWh |  | Standard FIT tariff in Mauritius of Rs 4.2/kWh used for calculation |  | https://www.xe.com/de/currencyconverter/convert/?Amount=4.2&From=MUR&To=EUR
Annual profit or loss from agriculture | 0 | EUR |  | Choose zero if no impact from agriculture shall be considered in the LCOE calculation. For costs, a negative value has to be inserted, for profit a positive value.
Results
Levelized Cost of Electricity
The LCoE takes into account the total cost of building and operating the energy-generating asset, including factors such as upfront capital costs, annual operating expenses, and the expected lifetime of the system. It is a crucial metric for comparing the cost of electricity generation from different sources and for assessing the profitability and viability of energy projects. A lower LCOE indicates a more cost-competitive energy source
The Weighted Average Cost of Capital (WACC) is considered in the calculation of the levelized cost of energy (LCOE) because it reflects the blended cost of capital across all sources, including equity and debt. By incorporating the WACC, the LCOE calculation accounts for the cost of financing the project, which is a significant component, especially in long-term projects.
Calculate LCoE considering the WACC? | No |  |  | Default is "No" meaning that the Nominal interested rate as inserted in cell C8 will be used for the discount rate. If "Yes" is selected, the nominal WACC calculated from sheet 'WACC' will be used for the dicount rate.
Levelized Cost of Electricity | 0.13276 | EUR/kW | With a project lifetime of 18 years, the levelised costs of electricity, taking into account an annual agricultural impact of plus 0 EUR, are 0.133 EUR/kWh or 132.76 EUR per MWh.
Weighted Average Cost of Capital
WACCnominal | 6.16% | %
WACCreal | -0.9155% | %
The Weighted Average Cost of Capital (WACC) is a key financial metric used to evaluate the cost of capital for a project. The WACC is used as the discount rate for evaluating the attractiveness of a project or investment. A project is considered worthwhile if it can deliver returns higher than the WACC. It serves as a hurdle rate, and if an investment opportunity has a lower Internal Rate of Return than its WACC, it is generally not considered an attractive investment.
Project analysis tools
PayBack | n.a. | years | With the given Input Parameters, no Payback can be calculated.
The payback period of a project is the amount of time it takes to recover the cost of an investment through the cash flows generated by the investment. The payback period provides a simple assessment of investment recovery, it does not consider the time value of money or the specific profitability of the investment.
Internal Rate of Return [IRR] | -8.694% | % | The project is not economically viable.
The Internal Rate of Return (IRR) is a crucial metric for evaluating the profitability of an investment. It represents the discount rate at which the net present value (NPV) of the project's expected cash flows equals zero. If the IRR is higher than the required rate of return, the investment is considered attractive and likely to generate positive returns. Conversely, if the IRR is lower than the required rate of return, the project is considered less attractive and less likely to generate positive returns.
Net Present Value [NPV] | -1963.3697 | EUR | With a project lifetime of 18 years, a net present value of -1963.37 EUR can be achieved.
The Net Present Value is a measure used to evaluate the profitability of an investment. It represents the difference between the present value of cash inflows and outflows over the project's life, discounted at a specified rate. It considers the time value of money, providing a comprehensive view of the potential profitability of an investment. A negative NPV indicates that a project is not economically viable.
A positive NPV indicates that the projected earnings (inflows) exceed the anticipated costs (outflows) and the investment is expected to generate positive returns.
Debt Service Coverage Ratio [DSCR] | 137.7% | % | The Agrivoltaic system can cover 137.71 percent of the debt service.
The debt service coverage ratio is the amount of cash a company has to service/pay its current debt obligations (interest on a debt, principal payment, lease payment, etc.). The DSCR shows investors and lenders whether a project company is generating enough income to pay off its debts. It is calculated by dividing the company’s net operating income by its debt obligations for that particular year. No interest on equity capital is considered in above calculated value.
DSCR = Annual Net Operating Income / Total Debt Service
While
Annual Net Operating Income = energy sale + agricultural income
Total Debt Service = Debt interest + Loan repayment

## WACC
Weighted Average Cost of Capital |  |  |  | Value
CAPEX value | 1600 | % | V | 1600
Equity | 20% | % | E | 320
Debt | 80% | % | D | 1280
Cost of equity | 7% | % | Re | 7%
Cost of debt | 7% | % | Rd | 7%
Tax rate | 15% | % | Tc | 15%
Inflation rate | 7.141% | %
Equity: Debt ratio | 0.25
WACC (nominal) | 6.16% | %
The nominal WACC does not account for inflation. It is the blended cost of capital, including equity and debt, without adjusting for the impact of inflation on the cost of capital. It is commonly used in practice and serves as the discount rate for nominal cash flows, which include inflation.
WACC (real) | -0.9155% | %
The real WACC factors in inflation and, therefore, is lower, all other things being equal, than a nominal WACC. It is used as the discount rate for real cash flows, which exclude the impact of inflation.

## LoanCalculation
Loan calculation taking into account unscheduled repayments
Credit framework data
Loan amount |  |  | 1280 | from 'Inputs&Results' sheet
Interest rate p.a. |  |  | 7% | from 'Inputs&Results' sheet
Term in years |  |  | 7
Payment date |  |  | 2024-01-01
Monthly special repayment
Further information
Scheduled monthly annuity |  |  | 19.3186 | 19.3186 | per year | 231.8236
Number of scheduled payments |  |  | 84
Number of actual payments |  |  | 84
Total unscheduled repayments |  |  | 0
Total interest |  |  | 342.765
Payment plan
N°. Month | Payment date | Remaining debt at the beginning of the month | Annuity | Special repayment | Payment Total amount | Repayment | Interest | Remaining debt at the end of the month |  | Payment Total amount | Repayment | Interest
1 | 2024-01-01 | 1280 | 19.3186 | 0 | 19.3186 | 11.852 | 7.4667 | 1268.148 | Year 1 | 231.8236 | 146.8765 | 84.9471
2 | 2024-02-01 | 1268.148 | 19.3186 | 0 | 19.3186 | 11.9211 | 7.3975 | 1256.2269 | Year 2 | 231.8236 | 157.4942 | 74.3294
3 | 2024-03-01 | 1256.2269 | 19.3186 | 0 | 19.3186 | 11.9906 | 7.328 | 1244.2363 | Year 3 | 231.8236 | 168.8795 | 62.9441
4 | 2024-04-01 | 1244.2363 | 19.3186 | 0 | 19.3186 | 12.0606 | 7.258 | 1232.1757 | Year 4 | 231.8236 | 181.0878 | 50.7358
5 | 2024-05-01 | 1232.1757 | 19.3186 | 0 | 19.3186 | 12.1309 | 7.1877 | 1220.0448 | Year 5 | 231.8236 | 194.1786 | 37.645
6 | 2024-06-01 | 1220.0448 | 19.3186 | 0 | 19.3186 | 12.2017 | 7.1169 | 1207.8431 | Year 6 | 231.8236 | 208.2158 | 23.6078
7 | 2024-07-01 | 1207.8431 | 19.3186 | 0 | 19.3186 | 12.2729 | 7.0458 | 1195.5702 | Year 7 | 231.8236 | 223.2677 | 8.5558
8 | 2024-08-01 | 1195.5702 | 19.3186 | 0 | 19.3186 | 12.3445 | 6.9742 | 1183.2257 | Year 8 | 0 | 0 | 0
9 | 2024-09-01 | 1183.2257 | 19.3186 | 0 | 19.3186 | 12.4165 | 6.9022 | 1170.8092 | Year 9 | 0 | 0 | 0
10 | 2024-10-01 | 1170.8092 | 19.3186 | 0 | 19.3186 | 12.4889 | 6.8297 | 1158.3203 | Year 10 | 0 | 0 | 0
11 | 2024-11-01 | 1158.3203 | 19.3186 | 0 | 19.3186 | 12.5618 | 6.7569 | 1145.7586 | Year 11 | 0 | 0 | 0
12 | 2024-12-01 | 1145.7586 | 19.3186 | 0 | 19.3186 | 12.635 | 6.6836 | 1133.1235 | Year 12 | 0 | 0 | 0
13 | 2025-01-01 | 1133.1235 | 19.3186 | 0 | 19.3186 | 12.7087 | 6.6099 | 1120.4148 | Year 13 | 0 | 0 | 0
14 | 2025-02-01 | 1120.4148 | 19.3186 | 0 | 19.3186 | 12.7829 | 6.5358 | 1107.6319 | Year 14 | 0 | 0 | 0
15 | 2025-03-01 | 1107.6319 | 19.3186 | 0 | 19.3186 | 12.8574 | 6.4612 | 1094.7745 | Year 15 | 0 | 0 | 0
16 | 2025-04-01 | 1094.7745 | 19.3186 | 0 | 19.3186 | 12.9324 | 6.3862 | 1081.842 | Year 16 | 0 | 0 | 0
17 | 2025-05-01 | 1081.842 | 19.3186 | 0 | 19.3186 | 13.0079 | 6.3107 | 1068.8341 | Year 17 | 0 | 0 | 0
18 | 2025-06-01 | 1068.8341 | 19.3186 | 0 | 19.3186 | 13.0838 | 6.2349 | 1055.7504 | Year 18 | 0 | 0 | 0
19 | 2025-07-01 | 1055.7504 | 19.3186 | 0 | 19.3186 | 13.1601 | 6.1585 | 1042.5903 | Year 19 | 0 | 0 | 0
20 | 2025-08-01 | 1042.5903 | 19.3186 | 0 | 19.3186 | 13.2369 | 6.0818 | 1029.3534 | Year 20 | 0 | 0 | 0
21 | 2025-09-01 | 1029.3534 | 19.3186 | 0 | 19.3186 | 13.3141 | 6.0046 | 1016.0394 | Year 21 | 0 | 0 | 0
22 | 2025-10-01 | 1016.0394 | 19.3186 | 0 | 19.3186 | 13.3917 | 5.9269 | 1002.6476 | Year 22 | 0 | 0 | 0
23 | 2025-11-01 | 1002.6476 | 19.3186 | 0 | 19.3186 | 13.4699 | 5.8488 | 989.1778 | Year 23 | 0 | 0 | 0
24 | 2025-12-01 | 989.1778 | 19.3186 | 0 | 19.3186 | 13.5484 | 5.7702 | 975.6293 | Year 24 | 0 | 0 | 0
25 | 2026-01-01 | 975.6293 | 19.3186 | 0 | 19.3186 | 13.6275 | 5.6912 | 962.0019 | Year 25 | 0 | 0 | 0
26 | 2026-02-01 | 962.0019 | 19.3186 | 0 | 19.3186 | 13.707 | 5.6117 | 948.2949 | Year 26 | 0 | 0 | 0
27 | 2026-03-01 | 948.2949 | 19.3186 | 0 | 19.3186 | 13.7869 | 5.5317 | 934.508 | Year 27 | 0 | 0 | 0
28 | 2026-04-01 | 934.508 | 19.3186 | 0 | 19.3186 | 13.8673 | 5.4513 | 920.6407 | Year 28 | 0 | 0 | 0
29 | 2026-05-01 | 920.6407 | 19.3186 | 0 | 19.3186 | 13.9482 | 5.3704 | 906.6925 | Year 29 | 0 | 0 | 0
30 | 2026-06-01 | 906.6925 | 19.3186 | 0 | 19.3186 | 14.0296 | 5.289 | 892.6629 | Year 30 | 0 | 0 | 0
31 | 2026-07-01 | 892.6629 | 19.3186 | 0 | 19.3186 | 14.1114 | 5.2072 | 878.5514
32 | 2026-08-01 | 878.5514 | 19.3186 | 0 | 19.3186 | 14.1937 | 5.1249 | 864.3577
33 | 2026-09-01 | 864.3577 | 19.3186 | 0 | 19.3186 | 14.2765 | 5.0421 | 850.0812
34 | 2026-10-01 | 850.0812 | 19.3186 | 0 | 19.3186 | 14.3598 | 4.9588 | 835.7213
35 | 2026-11-01 | 835.7213 | 19.3186 | 0 | 19.3186 | 14.4436 | 4.875 | 821.2777
36 | 2026-12-01 | 821.2777 | 19.3186 | 0 | 19.3186 | 14.5278 | 4.7908 | 806.7499
37 | 2027-01-01 | 806.7499 | 19.3186 | 0 | 19.3186 | 14.6126 | 4.706 | 792.1373
38 | 2027-02-01 | 792.1373 | 19.3186 | 0 | 19.3186 | 14.6978 | 4.6208 | 777.4395
39 | 2027-03-01 | 777.4395 | 19.3186 | 0 | 19.3186 | 14.7836 | 4.5351 | 762.6559
40 | 2027-04-01 | 762.6559 | 19.3186 | 0 | 19.3186 | 14.8698 | 4.4488 | 747.7861
41 | 2027-05-01 | 747.7861 | 19.3186 | 0 | 19.3186 | 14.9565 | 4.3621 | 732.8296
42 | 2027-06-01 | 732.8296 | 19.3186 | 0 | 19.3186 | 15.0438 | 4.2748 | 717.7858
43 | 2027-07-01 | 717.7858 | 19.3186 | 0 | 19.3186 | 15.1315 | 4.1871 | 702.6542
44 | 2027-08-01 | 702.6542 | 19.3186 | 0 | 19.3186 | 15.2198 | 4.0988 | 687.4344
45 | 2027-09-01 | 687.4344 | 19.3186 | 0 | 19.3186 | 15.3086 | 4.01 | 672.1258
46 | 2027-10-01 | 672.1258 | 19.3186 | 0 | 19.3186 | 15.3979 | 3.9207 | 656.7279
47 | 2027-11-01 | 656.7279 | 19.3186 | 0 | 19.3186 | 15.4877 | 3.8309 | 641.2402
48 | 2027-12-01 | 641.2402 | 19.3186 | 0 | 19.3186 | 15.5781 | 3.7406 | 625.6621
49 | 2028-01-01 | 625.6621 | 19.3186 | 0 | 19.3186 | 15.6689 | 3.6497 | 609.9932
50 | 2028-02-01 | 609.9932 | 19.3186 | 0 | 19.3186 | 15.7603 | 3.5583 | 594.2329
51 | 2028-03-01 | 594.2329 | 19.3186 | 0 | 19.3186 | 15.8523 | 3.4664 | 578.3806
52 | 2028-04-01 | 578.3806 | 19.3186 | 0 | 19.3186 | 15.9447 | 3.3739 | 562.4358
53 | 2028-05-01 | 562.4358 | 19.3186 | 0 | 19.3186 | 16.0378 | 3.2809 | 546.3981
54 | 2028-06-01 | 546.3981 | 19.3186 | 0 | 19.3186 | 16.1313 | 3.1873 | 530.2668
55 | 2028-07-01 | 530.2668 | 19.3186 | 0 | 19.3186 | 16.2254 | 3.0932 | 514.0414
56 | 2028-08-01 | 514.0414 | 19.3186 | 0 | 19.3186 | 16.3201 | 2.9986 | 497.7213
57 | 2028-09-01 | 497.7213 | 19.3186 | 0 | 19.3186 | 16.4153 | 2.9034 | 481.3061
58 | 2028-10-01 | 481.3061 | 19.3186 | 0 | 19.3186 | 16.511 | 2.8076 | 464.7951
59 | 2028-11-01 | 464.7951 | 19.3186 | 0 | 19.3186 | 16.6073 | 2.7113 | 448.1877
60 | 2028-12-01 | 448.1877 | 19.3186 | 0 | 19.3186 | 16.7042 | 2.6144 | 431.4835
61 | 2029-01-01 | 431.4835 | 19.3186 | 0 | 19.3186 | 16.8016 | 2.517 | 414.6819
62 | 2029-02-01 | 414.6819 | 19.3186 | 0 | 19.3186 | 16.8997 | 2.419 | 397.7822
63 | 2029-03-01 | 397.7822 | 19.3186 | 0 | 19.3186 | 16.9982 | 2.3204 | 380.784
64 | 2029-04-01 | 380.784 | 19.3186 | 0 | 19.3186 | 17.0974 | 2.2212 | 363.6866
65 | 2029-05-01 | 363.6866 | 19.3186 | 0 | 19.3186 | 17.1971 | 2.1215 | 346.4895
66 | 2029-06-01 | 346.4895 | 19.3186 | 0 | 19.3186 | 17.2974 | 2.0212 | 329.192
67 | 2029-07-01 | 329.192 | 19.3186 | 0 | 19.3186 | 17.3983 | 1.9203 | 311.7937
68 | 2029-08-01 | 311.7937 | 19.3186 | 0 | 19.3186 | 17.4998 | 1.8188 | 294.2939
69 | 2029-09-01 | 294.2939 | 19.3186 | 0 | 19.3186 | 17.6019 | 1.7167 | 276.6919
70 | 2029-10-01 | 276.6919 | 19.3186 | 0 | 19.3186 | 17.7046 | 1.614 | 258.9874
71 | 2029-11-01 | 258.9874 | 19.3186 | 0 | 19.3186 | 17.8079 | 1.5108 | 241.1795
72 | 2029-12-01 | 241.1795 | 19.3186 | 0 | 19.3186 | 17.9118 | 1.4069 | 223.2677
73 | 2030-01-01 | 223.2677 | 19.3186 | 0 | 19.3186 | 18.0162 | 1.3024 | 205.2515
74 | 2030-02-01 | 205.2515 | 19.3186 | 0 | 19.3186 | 18.1213 | 1.1973 | 187.1302
75 | 2030-03-01 | 187.1302 | 19.3186 | 0 | 19.3186 | 18.227 | 1.0916 | 168.9031
76 | 2030-04-01 | 168.9031 | 19.3186 | 0 | 19.3186 | 18.3334 | 0.98527 | 150.5698
77 | 2030-05-01 | 150.5698 | 19.3186 | 0 | 19.3186 | 18.4403 | 0.87832 | 132.1295
78 | 2030-06-01 | 132.1295 | 19.3186 | 0 | 19.3186 | 18.5479 | 0.77076 | 113.5816
79 | 2030-07-01 | 113.5816 | 19.3186 | 0 | 19.3186 | 18.6561 | 0.66256 | 94.9255
80 | 2030-08-01 | 94.9255 | 19.3186 | 0 | 19.3186 | 18.7649 | 0.55373 | 76.1606
81 | 2030-09-01 | 76.1606 | 19.3186 | 0 | 19.3186 | 18.8744 | 0.44427 | 57.2863
82 | 2030-10-01 | 57.2863 | 19.3186 | 0 | 19.3186 | 18.9845 | 0.33417 | 38.3018
83 | 2030-11-01 | 38.3018 | 19.3186 | 0 | 19.3186 | 19.0952 | 0.22343 | 19.2066
84 | 2030-12-01 | 19.2066 | 19.3186 | 0 | 19.3186 | 19.2066 | 0.11204 | -4.3343e-13
Formulas:
Payment date = IF([N°. Month]<>"",E12,"")
Payment date = IF([N°. Month]<>"",DATE(YEAR([Payment date, row above]),MONTH([Payment date, row above])+1,DAY([Payment date, row above])),"")

## Calculations
LCoE
Year | CAPEX | Annual energy production | Energy sale | OPEX | Debt interests | Loan repayment | Residual debt | Discount factor | Discount factor with WACCnominal | WACCC Yes = 1, No = 0 | Present Value of Opex incl. Debt and loan repayment | Present Value of Energy | Cash flow | Cumulative Cash flow | Agricultural influence | Agricultural influence discounted | Discounted Energy sale | Cash flow of discounted values
| EUR | kWh | EUR | EUR |  |  |  | % | % |  | EUR | kWh | EUR | EUR | EUR | EUR
0 | -1600 | [5 empty] | -1280 | 0% | 0% | 0 |  | 0 | -1600 | -1600 | 0
1 |  | 1500 | 127.35 | -32 | -84.9471 | -146.8765 | -1133.1235 | 93.46% | 94.2% | 0 | -246.5641 | 1401.8692 | -136.4736 | -1736.4736 | 0 | 0 | 119.0187 | -127.5454
2 |  | 1495.5 | 126.968 | -32.64 | -74.3294 | -157.4942 | -975.6293 | 87.34% | 88.73% | 0 | -230.9927 | 1306.2276 | -137.4956 | -1873.9692 | 0 | 0 | 110.8987 | -120.094
3 |  | 1491.0135 | 126.587 | -33.2928 | -62.9441 | -168.8795 | -806.7499 | 81.63% | 83.58% | 0 | -216.4139 | 1217.1112 | -138.5293 | -2012.4985 | 0 | 0 | 103.3327 | -113.0812
4 |  | 1486.5405 | 126.2073 | -33.9587 | -50.7358 | -181.0878 | -625.6621 | 76.29% | 78.73% | 0 | -202.764 | 1134.0746 | -139.5749 | -2152.0734 | 0 | 0 | 96.2829 | -106.4811
5 |  | 1482.0808 | 125.8287 | -34.6378 | -37.645 | -194.1786 | -431.4835 | 71.3% | 74.16% | 0 | -189.9833 | 1056.7032 | -140.6327 | -2292.7062 | 0 | 0 | 89.7141 | -100.2692
6 |  | 1477.6346 | 125.4512 | -35.3306 | -23.6078 | -208.2158 | -223.2677 | 66.63% | 69.86% | 0 | -178.0161 | 984.6103 | -141.703 | -2434.4091 | 0 | 0 | 83.5934 | -94.4227
7 |  | 1473.2017 | 125.0748 | -36.0372 | -8.5558 | -223.2677 | 1.9895e-13 | 62.27% | 65.81% | 0 | -166.8102 | 917.436 | -142.7859 | -2577.1951 | 0 | 0 | 77.8903 | -88.9199
8 |  | 1468.7821 | 124.6996 | -36.7579 | 0 | 0 |  | 58.2% | 61.99% | 0 | -21.3935 | 854.8445 | 87.9417 | -2489.2534 | 0 | 0 | 72.5763 | 51.1828
9 |  | 1464.3757 | 124.3255 | -37.4931 | 0 | 0 |  | 54.39% | 58.39% | 0 | -20.3938 | 796.5234 | 86.8324 | -2402.421 | 0 | 0 | 67.6248 | 47.2311
10 |  | 1459.9826 | 123.9525 | -38.243 | 0 | 0 |  | 50.83% | 55% | 0 | -19.4408 | 742.1811 | 85.7096 | -2316.7115 | 0 | 0 | 63.0112 | 43.5704
11 |  | 1455.6027 | 123.5807 | -39.0078 | 0 | 0 |  | 47.51% | 51.81% | 0 | -18.5323 | 691.5463 | 84.5728 | -2232.1386 | 0 | 0 | 58.7123 | 40.1799
12 |  | 1451.2359 | 123.2099 | -39.788 | 0 | 0 |  | 44.4% | 48.81% | 0 | -17.6663 | 644.3661 | 83.4219 | -2148.7167 | 0 | 0 | 54.7067 | 37.0403
13 |  | 1446.8821 | 122.8403 | -40.5837 | 0 | 0 |  | 41.5% | 45.97% | 0 | -16.8408 | 600.4047 | 82.2566 | -2066.4601 | 0 | 0 | 50.9744 | 34.1335
14 |  | 1442.5415 | 122.4718 | -41.3954 | 0 | 0 |  | 38.78% | 43.31% | 0 | -16.0539 | 559.4425 | 81.0764 | -1985.3837 | 0 | 0 | 47.4967 | 31.4428
15 |  | 1438.2139 | 122.1044 | -42.2233 | 0 | 0 |  | 36.24% | 40.79% | 0 | -15.3037 | 521.2749 | 79.881 | -1905.5027 | 0 | 0 | 44.2562 | 28.9526
16 |  | 1433.8992 | 121.738 | -43.0678 | 0 | 0 |  | 33.87% | 38.43% | 0 | -14.5885 | 485.7113 | 78.6703 | -1826.8324 | 0 | 0 | 41.2369 | 26.6483
17 |  | 1429.5975 | 121.3728 | -43.9291 | 0 | 0 |  | 31.66% | 36.2% | 0 | -13.9068 | 452.574 | 77.4437 | -1749.3888 | 0 | 0 | 38.4235 | 24.5167
18 |  | 1425.3087 | 121.0087 | -44.8077 | 0 | 0 |  | 29.59% | 34.1% | 0 | -13.257 | 421.6974 | 76.201 | -1673.1878 | 0 | 0 | 35.8021 | 22.5451
19 |  | 0 | 0 | 0 | 0 | 0 |  | 27.65% | 32.12% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 |  | 0 | 0 | 0 | 0 | 0 |  | 25.84% | 30.25% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 |  | 0 | 0 | 0 | 0 | 0 |  | 24.15% | 28.5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 |  | 0 | 0 | 0 | 0 | 0 |  | 22.57% | 26.84% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 |  | 0 | 0 | 0 | 0 | 0 |  | 21.09% | 25.29% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 |  | 0 | 0 | 0 | 0 | 0 |  | 19.71% | 23.82% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 |  | 0 | 0 | 0 | 0 | 0 |  | 18.42% | 22.44% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 |  | 0 | 0 | 0 | 0 | 0 |  | 17.22% | 21.14% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 |  | 0 | 0 | 0 | 0 | 0 |  | 16.09% | 19.91% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 |  | 0 | 0 | 0 | 0 | 0 |  | 15.04% | 18.75% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 |  | 0 | 0 | 0 | 0 | 0 |  | 14.06% | 17.67% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 |  | 0 | 0 | 0 | 0 | 0 |  | 13.14% | 16.64% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 26322.3931 | 2234.7712 | -685.194 | -342.765 | -1280 |  |  |  |  | -1618.9217 | 14788.5981 | -1673.1878 | -39475.3218 | 0 | 0 | 1255.552 | -363.3697
-1622.765
Time period | 18 | years
Actual
Energy production | 1500 | kWh
Opex | -32 | EUR
Discounted Totals
Energy production | 14788.5981 | kWh
Sum of Cash flow of discounted values | -363.3697 | EUR
Agricultural influence | 0
LCoE
Interest rate without WACC | 7% | %
Interest rate with WACCnominal | 6.16% | %
Interest rate with WACCreal | -0.9155% | %
Calculate LCoE considering the WACC? | No
LCOE | 0.13276 | EUR/kWh
NPV & IRR
NPV | -1963.3697 | EUR
IRR | -8.694% | %
Payback
Payback | 0 | years
Year | Accumulated flow | [5 empty] | Do not change
| EUR | [6 empty] | Yes
0 | -1600 | [5 empty] | 1 | No
1 | -1736.4736 | 0 |  |  |  |  | 2
2 | -1873.9692 | 0 |  |  |  |  | 3
3 | -2012.4985 | 0 |  |  |  |  | 4
4 | -2152.0734 | 0 |  |  |  |  | 5
5 | -2292.7062 | 0 |  |  |  |  | 6
6 | -2434.4091 | 0 |  |  |  |  | 7
7 | -2577.1951 | 0 |  |  |  |  | 8
8 | -2489.2534 | 0 |  |  |  |  | 9
9 | -2402.421 | 0 |  |  |  |  | 10
10 | -2316.7115 | 0 |  |  |  |  | 11
11 | -2232.1386 | 0 |  |  |  |  | 12
12 | -2148.7167 | 0
13 | -2066.4601 | 0
14 | -1985.3837 | 0
15 | -1905.5027 | 0
16 | -1826.8324 | 0
17 | -1749.3888 | 0
18 | -1673.1878 | 0
19 | 0 | 0
20 | 0 | 0
21 | 0 | 0
22 | 0 | 0
23 | 0 | 0
24 | 0 | 0
25 | 0 | 0
26 | 0 | 0
27 | 0 | 0
28 | 0 | 0
29 | 0 | 0
30 | 0 | 0

## SensitivityLCOE (hidden)
Change of Parameters | [A] System Price (€/kWp) | [B] Energy Sales Price (€/kWh) | [C] Interest rate (%) | [D] Specific yield (kWh/kWp) | [E] System Lifetime (years) | [A] LCOE CAPEX [ct€/kWh] | [B] LCOE Energy Sales Price [ct€/kWh] | [C] LCOE Interest rate [ct€/kWh] | [D] LCOE Specific yield [ct€/kWh] | [E] LCOE System Lifetime [ct€/kWh] | [A] Δ LCOE CAPEX [ct€/kWh] | [B] Δ LCOE Energy Sales Price [ct€/kWh] | [C] Δ LCOE Interest rate [ct€/kWh] | [D] Δ LCOE Specific yield [ct€/kWh] | [E] Δ LCOE System Lifetime [ct€/kWh]
-50% | 600 | 0.05 | 3.5% | 650 | 9 | -0.0058192 | 0.13836 | 0.050123 | 0.27672 | 0.17505 | -0.094181 | 0.05 | -0.038239 | 0.18836 | 0.086693 |  |  | Project Specific Inputs
-40% | 720 | 0.06 | 4.2% | 780 | 10.8 | 0.013017 | 0.12836 | 0.057366 | 0.21394 | 0.15706 | -0.075345 | 0.04 | -0.030996 | 0.12557 | 0.068702
-30% | 840 | 0.07 | 4.9% | 910 | 12.6 | 0.031853 | 0.11836 | 0.064817 | 0.16909 | 0.1305 | -0.056509 | 0.03 | -0.023544 | 0.080726 | 0.042135 |  | Not defined values or negative values need to be deleted in the table manually. | General
-20% | 960 | 0.08 | 5.6% | 1040 | 14.4 | 0.050689 | 0.10836 | 0.072471 | 0.13545 | 0.11199 | -0.037672 | 0.02 | -0.015891 | 0.04709 | 0.023629
-10% | 1080 | 0.09 | 6.3% | 1170 | 16.2 | 0.069526 | 0.098362 | 0.080321 | 0.10929 | 0.098507 | -0.018836 | 0.01 | -0.0080404 | 0.020929 | 0.010146 |  |  | Time period | 18 | years
0% | 1200 | 0.1 | 7% | 1300 | 18 | 0.088362 | 0.088362 | 0.088362 | 0.088362 | 0.088362 | 0 | 0 | 0 | 0 | 0 |  |  | Inflation rate | 7.141% | %
10% | 1320 | 0.11 | 7.7% | 1430 | 19.8 | 0.1072 | 0.078362 | 0.096586 | 0.071238 | 0.084207 | 0.018836 | -0.01 | 0.0082239 | -0.017124 | -0.0041548 |  |  | Nominal interest rate | 7% | %
20% | 1440 | 0.12 | 8.4% | 1560 | 21.6 | 0.12603 | 0.068362 | 0.10499 | 0.056968 | 0.077289 | 0.037672 | -0.02 | 0.016625 | -0.031394 | -0.011073
30% | 1560 | 0.13 | 9.1% | 1690 | 23.4 | 0.14487 | 0.058362 | 0.11356 | 0.044894 | 0.071813 | 0.056509 | -0.03 | 0.025195 | -0.043468 | -0.016548 |  |  | System
40% | 1680 | 0.14 | 9.8% | 1820 | 25.2 | 0.16371 | 0.048362 | 0.12229 | 0.034544 | 0.067424 | 0.075345 | -0.04 | 0.033929 | -0.053818 | -0.020938
50% | 1800 | 0.15 | 10.5% | 1950 | 27 | 0.18254 | 0.038362 | 0.13118 | 0.025574 | 0.063869 | 0.094181 | -0.05 | 0.04282 | -0.062787 | -0.024493 |  |  | Specific yield | 1500 | kWh/kWp
[18 empty] | Nominal capacity of the system | 1 | kWp
[18 empty] | Energy generated | 1500 | kWh
Default | 1200 | 0.1 | 7% | 1300 | 18 | [12 empty] | Annual degradation | 0.3% | %
Operation and Maintenance
[18 empty] | Maintenance & Operation | 32 | EUR
[18 empty] | Yearly increase in O&M costs | 2% | %
Capital costs
[18 empty] | Investment | 1600 | EUR/kWp
[19 empty] | 1600 | EUR
[18 empty] | Equity | 20% | %
[18 empty] | Debt | 80% | %
[18 empty] | Cost of equity | 7% | %
[18 empty] | Cost of debt | 7% | %
[18 empty] | Tax rate | 15% | %
[18 empty] | Equity: Debt ratio | 0.25
Income
[18 empty] | Energy sale price | 0.0849 | EUR/kWh
[18 empty] | Annual profit or loss from agriculture | 0 | EUR
Tracking
[8 empty] | Debt Interest Rate | [7 empty] | Amortization | IRR
[8 empty] | 3.46 | [7 empty] | 14.5 | 9
[8 empty] | 5.46 | [7 empty] | 15.2 | 8
[8 empty] | 7.46 | [7 empty] | 15.8 | 8
[8 empty] | 9.46 | [7 empty] | 16.5 | 6
[8 empty] | 11.46 | [7 empty] | 17 | 6
Loan Tenor Sensitivity
|  |  |  | Fixed |  |  |  | Loan Tenor | [7 empty] | Amortization | IRR
[8 empty] | 10 | [7 empty] | 14.8 | 6.78
[8 empty] | 12 | [7 empty] | 15.1 | 6.76
15
18
20
Tracking
[8 empty] | Debt Interest Rate | [7 empty] | Amortization | IRR
[8 empty] | 10 | [7 empty] | 14.3 | 7
[8 empty] | 12 | [7 empty] | 14.8 | 7
15
18
20

## SensitivitySystemCost (hidden)
System Price (€/kWp) | LCOE [€/kWh] | Amortization [years] | IRR | IRR [%] | LCOE [€/MWh]
600 | -0.0032766 | 10.7663 | 7.812% | 7.812 |  |  |  |  | Project Specific Inputs
800 | 0.023931 | 15.1739 | 2.302% | 2.3024 |  |  | Not defined values or negative values need to be deleted in the table manually.
1000 | 0.051139 |  | -1.458% | -1.4575 | 51.139 |  |  |  | General
1200 | 0.078347 |  | -4.328% | -4.3281 | 78.3468
1400 | 0.10555 |  | -6.677% | -6.6774 | 105.5546 |  |  |  | Time period | 18 | years
1600 | 0.13276 |  | -8.694% | -8.6942 | 132.7624 |  |  |  | Inflation rate | 7.141% | %
1800 | 0.15997 |  | -10.49% | -10.4882 | 159.9702 |  |  |  | Nominal interest rate | 7% | %
2000 | 0.18718 |  | -12.13% | -12.1296 | 187.178
2200 | 0.21439 |  | -13.67% | -13.6673 | 214.3858 |  |  |  | System
[9 empty] | Specific yield | 1500 | kWh/kWp
[9 empty] | Nominal capacity of the system | 1 | kWp
[9 empty] | Energy generated | 1500 | kWh
[9 empty] | Annual degradation | 0.3% | %
Operation and Maintenance
[9 empty] | Maintenance & Operation | 12 | EUR
[9 empty] | Yearly increase in O&M costs | 2% | %
Capital costs
[9 empty] | Investment | dependent variable | EUR/kWp
EUR
[9 empty] | Equity | 20% | %
[9 empty] | Debt | 80% | %
[9 empty] | Cost of equity | 7% | %
[9 empty] | Cost of debt | 7% | %
[9 empty] | Tax rate | 15% | %
[7 empty] | Default Specific Yield |  | Equity: Debt ratio | 0.25
[7 empty] | 1600 | kWh/kWp
Income
[9 empty] | Energy sale price | 0.0849 | EUR/kWh
[9 empty] | Annual profit or loss from agriculture | 0 | EUR
Tracking
|  |  |  | Debt Interest Rate |  | Amortization | IRR
|  |  |  | 3.46 |  | 14.5 | 9
|  |  |  | 5.46 |  | 15.2 | 8
|  |  |  | 7.46 |  | 15.8 | 8
|  |  |  | 9.46 |  | 16.5 | 6
|  |  |  | 11.46 |  | 17 | 6
Loan Tenor Sensitivity
|  | Fixed |  | Loan Tenor |  | Amortization | IRR
|  |  |  | 10 |  | 14.8 | 6.78
|  |  |  | 12 |  | 15.1 | 6.76
15
18
20
Tracking
|  |  |  | Debt Interest Rate |  | Amortization | IRR
|  |  |  | 10 |  | 14.3 | 7
|  |  |  | 12 |  | 14.8 | 7
15
18
20

## SensitivityEnergySalesPrice (hidden)
Energy Sales Price (EUR/kWh) | LCOE [€/kWh] | Amortization [years] | IRR | IRR [%] | LCOE [€/MWh]
0.05 | 0.16766 |  | -0.17406 | -17.4059 | 167.6624 |  |  |  |  | Project Specific Inputs
0.06 | 0.15766 |  | -0.14144 | -14.1437 | 157.6624 |  | Not defined values or negative values need to be deleted in the table manually.
0.07 | 0.14766 |  | -0.11655 | -11.6546 | 147.6624 |  |  |  |  | General
0.08 | 0.13766 |  | -0.095961 | -9.5961 | 137.6624
0.09 | 0.12766 |  | -0.078129 | -7.8129 | 127.6624 |  |  |  |  | Time period | 18 | years
0.1 | 0.11766 |  | -0.062209 | -6.2209 | 117.6624 |  |  |  |  | Inflation rate | 7.141% | %
0.11 | 0.10766 |  | -0.047689 | -4.7689 | 107.6624 |  |  |  |  | Nominal interest rate | 7% | %
0.12 | 0.097662 |  | -0.034237 | -3.4237 | 97.6624
0.13 | 0.087662 |  | -0.021623 | -2.1623 | 87.6624 |  |  |  |  | System
0.14 | 0.077662 |  | -0.0096792 | -0.96792 | 77.6624
0.15 | 0.067662 | 17.7609 | 0.0017178 | 0.17178 | 67.6624 |  |  |  |  | Specific yield | 1500 | kWh/kWp
0.16 | 0.057662 | 16.3486 | 0.012663 | 1.2663 | 57.6624 |  |  |  |  | Nominal capacity of the system | 1 | kWp
0.17 | 0.047662 | 15.1517 | 0.023233 | 2.3233 | 47.6624 |  |  |  |  | Energy generated | 1500 | kWh
0.18 | 0.037662 | 14.1235 | 0.033485 | 3.3485 | 37.6624 |  |  |  |  | Annual degradation | 0.3% | %
0.19 | 0.027662 | 13.2299 | 0.043469 | 4.3469 | 27.6624
0.2 | 0.017662 | 12.4452 | 0.053225 | 5.3225 | 17.6624 |  |  |  |  | Operation and Maintenance
0.21 | 0.0076624 | 11.7498 | 0.062787 | 6.2787 | 7.6624
0.22 | -0.0023376 | 11.1293 | 0.072183 | 7.2183 | -2.3376 |  |  |  |  | Maintenance & Operation | 32 | EUR
0.23 | -0.012338 | 10.5726 | 0.081436 | 8.1436 | -12.3376 |  |  |  |  | Yearly increase in O&M costs | 2% | %
0.24 | -0.022338 | 10.0689 | 0.090568 | 9.0568 | -22.3376
0.25 | -0.032338 | 9.6125 | 0.099596 | 9.9596 | -32.3376 |  |  |  |  | Capital costs
0.26 | -0.042338 | 9.1955 | 0.10854 | 10.8536 | -42.3376
0.27 | -0.052338 | 8.8138 | 0.1174 | 11.74 | -52.3376 |  |  |  |  | Investment | 1600 | EUR/kWp
0.28 | -0.062338 | 8.463 | 0.1262 | 12.6202 | -62.3376 | [5 empty] | 1600 | EUR
0.29 | -0.072338 | 8.1388 | 0.13495 | 13.4951 | -72.3376 |  |  |  |  | Equity | 20% | %
0.3 | -0.082338 | 7.839 | 0.14366 | 14.3657 | -82.3376 |  |  |  |  | Debt | 80% | %
[10 empty] | Cost of equity | 7% | %
[10 empty] | Cost of debt | 7% | %
[10 empty] | Tax rate | 15% | %
[10 empty] | Equity: Debt ratio | 0.25
Income
[7 empty] | Default | 0.0849 | = 4.2 MUR/kWp | Energy sale price | dependent variable | EUR/kWh
0.0849
[10 empty] | Annual profit or loss from agriculture | 0 | EUR
Tracking
|  |  |  | Debt Interest Rate |  | Amortization | IRR
|  |  |  | 3.46 |  | 14.5 | 9
|  |  |  | 5.46 |  | 15.2 | 8
|  |  |  | 7.46 |  | 15.8 | 8
|  |  |  | 9.46 |  | 16.5 | 6
|  |  |  | 11.46 |  | 17 | 6
Loan Tenor Sensitivity
|  | Fixed |  | Loan Tenor |  | Amortization | IRR
|  |  |  | 10 |  | 14.8 | 6.78
|  |  |  | 12 |  | 15.1 | 6.76
15
18
20
Tracking
|  |  |  | Debt Interest Rate |  | Amortization | IRR
|  |  |  | 10 |  | 14.3 | 7
|  |  |  | 12 |  | 14.8 | 7
15
18
20

## SensitivitySpecificYield (hidden)
Specific Yield (kWh/kWp) | LCOE [€/kWh] | Amortization [years] | IRR | IRR [%] | LCOE [€/MWh]
1200 | 0.18718 |  | -0.1213 | -12.1296 | 187.178 |  |  |  | Project Specific Inputs
1300 | 0.16625 |  | -0.10878 | -10.8785 | 166.2489
1400 | 0.14831 |  | -0.097415 | -9.7415 | 148.3097 |  | Not defined values or negative values need to be deleted in the table manually. |  | General
1500 | 0.13276 |  | -0.086942 | -8.6942 | 132.7624
1600 | 0.11916 |  | -0.077193 | -7.7193 | 119.1585 |  |  |  | Time period | 18 | years
1700 | 0.10716 |  | -0.068039 | -6.8039 | 107.1551 |  |  |  | Inflation rate | 7.141% | %
1800 | 0.096485 |  | -0.059384 | -5.9384 | 96.4853 |  |  |  | Nominal interest rate | 7% | %
System
[9 empty] | Specific yield | dependent variable | kWh/kWp
[9 empty] | Nominal capacity of the system | 1 | kWp
[9 empty] | Energy generated |  | kWh
[9 empty] | Annual degradation | 0.3% | %
Operation and Maintenance
[9 empty] | Maintenance & Operation | 32 | EUR
[9 empty] | Yearly increase in O&M costs | 2% | %
Capital costs
[9 empty] | Investment | 1600 | EUR/kWp
[10 empty] | 1600 | EUR
[9 empty] | Equity | 20% | %
[9 empty] | Debt | 80% | %
[7 empty] | Default Specific Yield |  | Cost of equity | 7% | %
[7 empty] | 1500 | kWh/kWp | Cost of debt | 7% | %
[9 empty] | Tax rate | 15% | %
[9 empty] | Equity: Debt ratio | 0.25
Income
[9 empty] | Energy sale price | 0.0849 | EUR/kWh
[9 empty] | Annual profit or loss from agriculture | 0 | EUR
Tracking
|  |  |  | Debt Interest Rate |  | Amortization | IRR
|  |  |  | 3.46 |  | 14.5 | 9
|  |  |  | 5.46 |  | 15.2 | 8
|  |  |  | 7.46 |  | 15.8 | 8
|  |  |  | 9.46 |  | 16.5 | 6
|  |  |  | 11.46 |  | 17 | 6
Loan Tenor Sensitivity
|  | Fixed |  | Loan Tenor |  | Amortization | IRR
|  |  |  | 10 |  | 14.8 | 6.78
|  |  |  | 12 |  | 15.1 | 6.76
15
18
20
Tracking
|  |  |  | Debt Interest Rate |  | Amortization | IRR
|  |  |  | 10 |  | 14.3 | 7
|  |  |  | 12 |  | 14.8 | 7
15
18
20

## SensitivityDebtInterest (hidden)
Debt Interest Rate | LCOE [€/kWh] | Amortization [years] | IRR | IRR [%] | LCOE [€/MWh]
0% | 0.11492 |  | -0.073213 | -7.3213 | 114.918 |  |  |  | Project Specific Inputs
2% | 0.11975 |  | -0.077095 | -7.7095 | 119.7468 |  | Not defined values or negative values need to be deleted in the table manually.
4% | 0.12479 |  | -0.081015 | -8.1015 | 124.7922 |  |  |  | General
6% | 0.13005 |  | -0.084962 | -8.4962 | 130.0525
8% | 0.13552 |  | -0.088924 | -8.8924 | 135.525 |  |  |  | Time period | 18 | years
10% | 0.14121 |  | -0.092889 | -9.2889 | 141.2063 |  |  |  | Inflation rate | 7.141% | %
12% | 0.14709 |  | -0.096846 | -9.6846 | 147.0923 |  |  |  | Nominal interest rate | 7% | %
14% | 0.15318 |  | -0.10078 | -10.0785 | 153.1784
16% | 0.15946 |  | -0.1047 | -10.4696 | 159.4591 |  |  |  | System
[9 empty] | Specific yield | 1500 | kWh/kWp
[9 empty] | Nominal capacity of the system | 1 | kWp
[9 empty] | Energy generated | 1500 | kWh
[9 empty] | Annual degradation | 0.3% | %
Operation and Maintenance
[9 empty] | Maintenance & Operation | 32 | EUR
[9 empty] | Yearly increase in O&M costs | 2% | %
Capital costs
[9 empty] | Investment | 1600 | EUR/kWp
[10 empty] | 1600 | EUR
[9 empty] | Equity | 20% | %
[9 empty] | Debt | 80% | %
[7 empty] | @ 80 percent debt financing |  | Cost of equity | 7% | %
[7 empty] | 7% | Default Cost of debt | Cost of debt | dependent variable | %
[9 empty] | Tax rate | 15% | %
[9 empty] | Equity: Debt ratio | 0.25
Income
[9 empty] | Energy sale price | 0.0849 | EUR/kWh
[9 empty] | Annual profit or loss from agriculture | 0 | EUR
Tracking
|  |  |  | Debt Interest Rate |  | Amortization | IRR
|  |  |  | 3.46 |  | 14.5 | 9
|  |  |  | 5.46 |  | 15.2 | 8
|  |  |  | 7.46 |  | 15.8 | 8
|  |  |  | 9.46 |  | 16.5 | 6
|  |  |  | 11.46 |  | 17 | 6
Loan Tenor Sensitivity
|  | Fixed |  | Loan Tenor |  | Amortization | IRR
|  |  |  | 10 |  | 14.8 | 6.78
|  |  |  | 12 |  | 15.1 | 6.76
15
18
20
Tracking
|  |  |  | Debt Interest Rate |  | Amortization | IRR
|  |  |  | 10 |  | 14.3 | 7
|  |  |  | 12 |  | 14.8 | 7
15
18
20

## Copia (hidden)
Levelized Cost of Electricity [EUR/kWh]
pvgis
Data System | Specific yield | 1500 | kWh/kWp |  | 30% + debido a estructura apv
| Nominal capacity of the system | 1 | kWp |  | Increase % om
| Energy generated | 1500 | kWh |  | discount factor
| Annual degradation | 0.3% | % |  | Life time
Energy Sale | Energy sale price | 0.088 | EUR/kWh
CAPEX | Investment | 1000 | EUR/kWp
|  | 1000 | EUR
| Interested rate | 8% | %
OPEX | Maintenance & Operation | 15 | EUR | increase 2% per year
Economic indicators | Levelized Cost of Electricity | 0.13276 | EUR/kW
| PayBack | 0 | years
| IRR | 9.619% | %
| NPV | 121.7795 | EUR
Year | CAPEX | Annual energy production | OPEX | Energy Sale | Cash flow | Accumulated flow
| EUR | kWh | EUR | EUR | EUR
0 | -1000 | 0 | 0 | 0 | -1000 | -1000
1 |  | 1500 | -15 | 132 | 117 | -883
2 |  | 1495.5 | -15 | 131.604 | 116.604 | -766.396
3 |  | 1491.0135 | -15 | 131.2092 | 116.2092 | -650.1868
4 |  | 1486.5405 | -15 | 130.8156 | 115.8156 | -534.3713
5 |  | 1482.0808 | -15 | 130.4231 | 115.4231 | -418.9481
6 |  | 1477.6346 | -15 | 130.0318 | 115.0318 | -303.9163
7 |  | 1473.2017 | -15 | 129.6417 | 114.6417 | -189.2745
8 |  | 1468.7821 | -15 | 129.2528 | 114.2528 | -75.0217
9 |  | 1464.3757 | -15 | 128.8651 | 113.8651 | 38.8433
10 |  | 1459.9826 | -15 | 128.4785 | 113.4785 | 152.3218
11 |  | 1455.6027 | -15 | 128.093 | 113.093 | 265.4148
12 |  | 1451.2359 | -15 | 127.7088 | 112.7088 | 378.1236
13 |  | 1446.8821 | -15 | 127.3256 | 112.3256 | 490.4492
14 |  | 1442.5415 | -15 | 126.9437 | 111.9437 | 602.3929
15 |  | 1438.2139 | -15 | 126.5628 | 111.5628 | 713.9557
16 |  | 1433.8992 | -15 | 126.1831 | 111.1831 | 825.1388
17 |  | 1429.5975 | -15 | 125.8046 | 110.8046 | 935.9434
18 |  | 1425.3087 | -15 | 125.4272 | 110.4272 | 1046.3706
19 |  | 1421.0328 | -15 | 125.0509 | 110.0509 | 1156.4215
20 |  | 1416.7697 | -15 | 124.6757 | 109.6757 | 1266.0972